## Query7
WELL_COMPLETION_ID | WELL_LOCATION | WELL_STREET_NUMBER | WELL_STREET_NAME | PROPERTY_OWNER | WELL_SUB_NAME | OWNER_ADDRESS | OWNER_STREET_NUMBER | OWNER_STREET_NAME | OWNER_CITY | ASSESSORS_LOT | ASSESSORS_MAP | BOH_DATE_ISSUED | DEPTH_TO_BEDROCK | BOH_PERMIT | WC_DATE | COMMENTS | FIRM | WELLTYPE | SUPERVISING_DRILLER | WC_DEPTH | LATITUDE | LONGITUDE | LATD | LATM | LONGD | LONGM | WELL_LOT_NUM
271961 |  |  | Mohawk Trail | Abdul Baki & Anne Kaplan | W-152-98 | 160 East Oxbow Road |  |  | Charlemont |  |  |  | 6 | Y | 1998-12-17 | Well likely erroneously listed as Hawks Road. It's located 72' North of Mohawk Trail, 1.2 miles West of East Oxbow Road. Protective well seal installed. Casing length into bedrock 12'. | Lynde Well Drilling, Inc. | DMST | Kenneth C. Lynde | 727
271962 |  |  | Warner Hill Road | Issho Fujita |  | 263 Warner Hill Road |  |  | Charlemont |  |  |  | 6 | Y | 1998-10-30 | Well is located 210' West of Warner Hill Road, 1.7 miles North of Route 8-A. Protective well seal="drive shoe." Casing length into bedrock 24'. | Kirke R. Henshaw, Inc. | DMST | Kirke R. Henshaw | 260
271963 | 9 Rice Fort Road | 9 | Rice Fort Road | Gerald Raymond |  | 9 Rice Fort Road |  |  | Charlemont |  |  |  | 83 | Y | 1998-10-29 | Well is located 20' South of Rice Fort Road, 300' East of Warfield Road. Protective well seal="drive shoe." Casing length into bedrock 7'. | Kirke R. Henshaw, Inc. | DMST | Kirke R. Henshaw | 140
271964 | 4 East Hawley Road | 4 | East Hawley Road | Pat Driscoll |  | 4 East Hawley Road |  |  | Charlemont |  |  |  | 134 | Y | 1998-03-05 | Well is located 160' West of East Hawley Road, 500' South of South River Road. Protective well seal="drive shoe." Casing length into bedrock 7'. | Kirke R. Henshaw, Inc. | DMST | Kirke R. Henshaw | 440
271965 |  |  | Burrington Road | James Swehla | W-97-97 | 200 Lower Street |  |  | Buckland |  |  |  | 21 | Y | 1997-09-12 | Well is located 180' North of Burrington Road, .7 miles East of West intersection with Route 2. Protective well seal installed. Casing length into bedrock 14'. | Lynde Well Drilling, Inc. | DMST | Kenneth C. Lynde | 275
271967 | 24 Windy Hill Road | 24 | Windy Hill Road | Tony Walker |  | 24 Windy Hill Road |  |  | Charlemont |  |  |  | 70 | Y | 1997-08-04 | Well is located 300' North of Windy Hill Road, .1 miles West of East Oxbow Road. Protective well seal="drive shoe." Casing length into bedrock 10'. | Kirke R. Henshaw, Inc. | DMST | Kirke R. Henshaw | 200
271968 |  |  | Route 2 | Earle Crowningshield |  |  |  |  | Charlemont |  |  |  | 95 | NR | 1971-12-30 | Well is located 30' from the road, across the street from the Charlemont Post Office. Well type listed as "drilled." | Stavens & Frost | DMST | R. N. Hale | 300
271969 |  |  | Route 8A | Edna Chamberlin c/o K. L. Bernard | Well #1-538 |  |  |  | Jacksonville |  |  |  | 15 | NR | 1971-12-27 | Well is located at the corner of Old Country Road and Route 8A opposite intersection West Hawley Road. Well type listed as "drilled." | Stavens & Frost | DMST | U. E. Bushee | 110
272217 | 9 East Harmony Lane | 9 | East Harmony Lane | Daniel Denis | Well #3-146 | 9 East Harmony Lane |  |  | Charlemont |  |  |  | 97 | NR | 1971-02-05 | Well is located North of the offshoot of East Harmony Lane, two houses in. Street listed as Saw Mill Hill Road. Well type listed as "drilled." | Stavens & Frost | DMST | R. J. Heard | 200
271990 |  |  | West Oxbow Road | Anthony Coley, Jr. |  | West Oxbow Road |  |  | Charlemont |  |  |  | 115 | NR | 1969-09-06 | Well is located in front of a house West of a discontinued road, which stretched between West Oxbow Road and Route 2, perpendicular to Route 2. Well type listed as "drilled." | E. H. Hartley | DMST | E. H. Hartley | 155
271992 |  |  | East Hawley Road | Darwin Clark, Jr. & William Clark |  | East Hawley Road |  |  | Charlemont |  |  |  | 135 | NR | 1969-08-11 | Well is located 300' from East Hawley Road, 1.3 miles from Route 8A. Well type listed as "drilled." | Stavens & Frost | DMST | V. E. Bushee | 200
271993 |  |  | Judd Road | A. J. Woloszozuk |  | 34 Sycamore Street |  |  | Glastonbury |  |  |  | 6 | NR | 1969-07-07 | Well is located 50' from Judd Road. Well type listed as "drilled." | Stavens & Frost | DMST | H. R. Hoyt, Jr. | 125
271994 |  |  | Tower Road | Mohawk Trail State Forest |  | Tower Road |  |  | Charlemont |  |  |  | 90 | NR | 1968-07-29 | Well is located to the right of the house. Well type listed as "drilled." | G. Limberger | DMST | G. Limberger | 145
271995 |  |  | Warfield Road | Syrus Gould |  | Warfield Road |  |  | Charlemont |  |  |  | 40 | NR | 1968-07-25 | Well type listed as "drilled." | G. Limberger | DMST | G. Limberger | 145
271996 |  |  | Warfield Road | Syrus Gould |  | Warfield Road |  |  | Charlemont |  |  |  | 40 | NR | 1968-07-22 | Well is located behind the house. | G. Limberger | DMST | G. Limberger | 395
271997 |  |  | Legate Hill Road | Johanna Hansen |  | PO Box 238 |  |  | Goshen |  |  |  | 50 | NR | 1967-06-29 | Well is located 50' West of Legate Hill Road, behind the house. Well type listed as "drilled." | Stavens & Frost | DMST | Vincent E. Bushee | 100
271998 |  |  |  | Mrs. Augusta Anderson |  | West Oxbow Road |  |  | Charlemont |  |  |  | 119 | NR | 1967-06-13 | Well type listed as "drilled." | G. Limberger | DMST | G. Limberger | 129
271999 |  |  | Zoar Road | Charles Hoyt | Well #1-190 | Zoar Road |  |  | Charlemont |  |  |  |  | NR | 1966-12-16 | Well is located 300' South East of Rowe Road, 45' South West of Zoar Road. Well type listed as "drilled." | Stavens & Frost | DMST | H. R. Hoyt, Jr. | 91
272000 |  |  |  | Ralph Newell |  | Rural Free Delivery 2 |  |  | Charlemont |  |  |  | 13 | NR | 1966-07-13 | Well type listed as "drilled." | Green Mt. Well Co., Inc. | DMST |  | 185
272001 |  |  | Route 2 | Norman F. Kirk |  | PO Box 96 |  |  | Charlemont |  |  |  | 80 | NR | 1966-01-29 | Well type listed as "drilled." | R. E. Chapman Company | DMST | Leonard Frost | 150
272002 |  |  | Mohawk Trail | Verne Bliss |  | Mohawk Trail |  |  | Charlemont |  |  |  | 115 | NR | 1965-09-07 | Well is located 10' behind the house from the side of the driveway that protrudes from Mohawk Trail. Well type listed as "drilled." | Stavens Brothers, Inc. | DMST | Robert C. Stavens | 200
272003 |  |  | Warner Hill Road | Harold Burt |  | Warner Hill Road |  |  | Charlemont |  |  |  | 16 | NR | 1965-07-20 | Well is in front of the house. Well type listed as "drilled." | G. Limberger | DMST | G. Limberger | 145
272004 |  |  | Main Street | Cyrus Annear |  | Main Street |  |  | Charlemont |  |  |  | 89 | NR | 1965-07-10 | Well type listed as "drilled." | G. Limberger | DMST | G. Limberger | 115
272005 |  |  |  | Carroll Adams |  |  |  |  | Charlemont |  |  |  | 61 | NR | 1965-06-26 | Well use listed as "drilled." |  | DMST |  | 100
272006 |  |  |  | Donald W. Raymond | Well #1 | PO Box 223 |  |  | Charlemont |  |  |  | 15 | NR | 1965-06-09 | Well use listed as "drilled." | R. E. Chapman Company | DMST | Leonard Frost | 80
272007 |  |  | Mohawk Trail | Leon Turner |  | Main Street |  |  | Charlemont |  |  |  | 70 | NR | 1965-05-30 | Well is located between two houses. Well use listed as "drilled." | G. Limberger | DMST | G. Limberger | 156
272008 |  |  | Mohawk Trail | Theron Taylor |  | Main Street |  |  | Charlemont |  |  |  | 30 | NR | 1965-05-30 | Well is located to the left of the house. Well use listed as "drilled." | G. Limberger | DMST | G. Limberger | 175
272009 |  |  | Main Street | Francis Stetson |  | Main Street |  |  | Charlemont |  |  |  |  | NR | 1964-10-09 | Well is in front of house. Depth to bedrock unknown. Diameter is listed as 6'114". Depth to water is listed as "flowing." Well use listed as "drilled." | George Limberger | DMST | George Limberger | 63
272010 |  |  | Main Street | Robert Sevigny | Well #8 | Main Street |  |  | Charlemont |  |  |  |  | NR | 1964-05-01 | Well is located to the right of the house. Well use listed as "drilled." | George Limberger | DMST | George Limberger | 102
272011 |  |  | East Hawley Road | Henry G. Thewer |  | East Hawley Road |  |  | Charlemont |  |  |  | 6 | NR | 1963-10-01 | Well use listed as "drilled." | R. E. Chapman Company | DMST | Don Graham | 138
272012 |  |  | Route 2 | Sandris Realty Co. | Gas Station | Route 2 |  |  | Charlemont |  |  |  | 82 | NR | 1963-09-07 | Well is located South of Route 2, East of the gas station. Well use listed as "commercial." Well type listed as "drilled." Pump test lasted 3 days, 10 hours each. | E. H. Hartley | ? | E. H. Hartley | 130
154663 | 526 Zoar Road | 526 | Zoar Road | Gery & Anemone Benedetts |  | 120 Bridge Street |  |  | Shelburne |  |  |  | 12 | Y | 2007-12-06 | After hydrofrack 6gpm. | Lynde Well Drilling, Inc. | DMST |  | 545 | 42.6585 | -72.938 | 42 | 39.507 | -72 | 56.28
151222 | 283 Legate Hill Road | 283 | Legate Hill Road | Charles Ricko |  | 6 Unity Street |  |  | Turners Fall |  |  | 2007-06-13 | 7 | Y | 2007-06-27 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 122 | 42.6529 | -72.8992 | 42 | 39.173 | -72 | 53.952
150676 | 300 Zoar Road | 300 | Zoar Road | New England Investment |  | P. O. Box 383 |  |  | Charlemmont |  |  | 2007-09-12 | 3 | Y | 2007-09-21 |  | Green Mt. Well Co., Inc. | INDS |  | 300 | 42.6457 | -72.9247 | 42 | 38.741 | -72 | 55.482
153735 | 1903 Mohawk Trail | 1903 | Mohawk Trail | Winston Heoly |  | 1921 Mohawk Trail |  |  | Charlemont |  |  |  | 47 | Y | 2007-06-12 |  | Kirke R. Henshaw, Inc. | DMST |  | 200 | 42.6232 | -72.7801 | 42 | 37.389 | -72 | 46.808
144984 | 199 Avery Brook Road | 199 | Avery Brook Road | Thayer Street Associates |  | 8 Coates Avenue |  |  | South Deerfield, MA 01373 |  |  |  | 98 | Y | 2006-06-28 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 320
147770 | 336 West Oxbow Road | 336 | West Oxbow Road | Bill & Amy Coates |  | 336 West Oxbow Road |  |  | Shelburne 01370 |  |  |  | 80 | Y | 2006-12-08 |  | Lynde Well Drilling, Inc. | DMST |  | 108 | 42.6432 | -72.1273 | 42 | 38.591 | -72 | 7.635
135517 | 1645 Route 2 | 1645 | Route 2 | Dean Structures |  | 92 Avery Brook Road |  |  | Shelburne Falls 01370 |  |  |  | 168 | Y | 2006-10-25 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 240
135522 | 44 Avery Brook Road | 44 | Avery Brook Road | Pat Donahue |  | 653 Legate Hill Road |  |  | Charlemont 01339 |  |  |  | 80 | Y | 2006-10-31 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 400 | 42.3537 | -72.8054 | 42 | 21.222 | -72 | 48.325
147758 | 24 South Heath Road | 24 | South Heath Road | Jane Griben |  | 1133 Fearrington Post |  |  | Pittsboro 27312 |  |  |  | 6 | Y | 2006-09-28 |  | Lynde Well Drilling, Inc. | DMST |  | 405 | 42.6435 | -72.8506 | 42 | 38.612 | -72 | 51.035
147767 | 48 South Heath Road | 48 | South Heath Road | Chris Seaver |  | 48 South Heath Road |  |  | Charlemont |  |  |  | 13 | Y | 2006-11-15 |  | Lynde Well Drilling, Inc. | DMST |  | 445 | 42.6457 | -72.8512 | 42 | 38.742 | -72 | 51.075
149012 | 129 Main Street | 129 | Main Street | Dennis Avery or Karen Hogners |  | P.O. Box 355 |  |  | Charlemont 01339 |  |  | 2006-10-06 | 88 | Y | 2006-11-01 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 500 | 42.6284 | -72.8732 | 42 | 37.704 | -72 | 52.394
263771 | 104 Main Street | 104 | Main Street | Raymond Willis |  | P.O. Box 192 |  |  | Charlemont | 87 | 19 | 2009-07-08 | 85 | Y | 2009-08-19 |  | Lynde Well Drilling, Inc. | DMST | Kenneth C. Lynde | 485 | 42.6276 | -72.8756 | 42 | 37.655 | -72 | 52.538
155367 | 15 North Street | 15 | North Street | Donald Rice |  | P. O. Box 498 |  |  | Charlemont |  |  |  | 77 | NR | 2008-05-21 |  | L. G. Cushing & Sons, INC. | DMST | Bart C. Cushing | 322 | 42.629 | -72.8769 | 42 | 37.741 | -72 | 52.61
253616 | 372 Maxwell Road | 372 | Maxwell Road | Nicoll Carpentry, LLC | Doug Webber Property | 330 Shaw Road |  |  | Windsor |  |  | 2008-08-13 | 6 | Y | 2008-09-17 |  | Lynde Well Drilling, Inc. | DMST | Kenneth C. Lynde | 225 | 42.6684 | -72.8817 | 42 | 40.101 | -72 | 52.9
251927 | 4 Maxwell Road |  | Maxwell Road | Carla LaGrassa |  | 11 East 87th Street |  |  | New York | 4 |  | 2008-06-25 | 25 | Y | 2008-06-28 |  | Lynde Well Drilling, Inc. | DMST | Kenneth C. Lynde | 405 | 42.6702 | -72.8805 | 42 | 40.21 | -72 | 52.83 | 4
252210 | 1451 Mohawk Trail | 1451 | Mohawk Trail | Steve Bellrose |  | 12 Allen St |  |  | Chicopee |  |  | 2008-05-07 | 6 | Y | 2008-05-08 |  | Kirke R. Henshaw, Inc. | DMST | Kirke R. Henshaw | 440 | 42.6193 | -72.8168 | 42 | 37.156 | -72 | 49.007
155358 | 200 Legate Hill Road | 200 | Legate Hill Road | Tom Bohlke |  | 34 Tulip Street |  |  | New Britain 06053 |  |  |  | 0 | NR | 2008-05-12 | Casing depth unknown. | Larry G. Cushing & Sons, Inc. | DMST |  | 251 | 42.6454 | -72.8963 | 42 | 38.725 | -72 | 53.781
269809 |  |  | River Road | Dan Houle | W-92-97 | PO Box 290 |  |  | Charlemont |  |  |  | 130 | Y | 1997-09-04 | Well 440' S of River Rd, .1 mi E of intersection with Rte 8A. Well seal installed. Casing length into bedrock 10'. Shale listed as water bearing rock, however no water bearing zones listed. | Lynde Well Drilling, Inc. | DMST | Kenneth C. Lynde | 475
269810 |  |  | Vincent Road | Walter Dzeima | Well #3-106 | Vincent Road |  |  | Charlemont |  |  |  | 15 | NR | 1970-09-01 | Well is located 100' from Vincent Road, near the junction of Vincent Road and Route 8A. | Stavens & Frost | DMST | Charles W. Townlee | 300
271981 |  |  | Route 8A | Elizabeth Solomon | Well #2-443 | 700 Summer Street |  |  | Stamford |  |  |  | 8 | NR | 1970-10-07 | Well is located 100' South of West Hawley Road, .75 miles Westward from Route 2. Well type listed as "drilled." | Stavens & Frost | DMST | V. E. Bushee | 100
271983 |  |  | Legate Hill Road | J. Paul Sampley |  | Legate Hill Road |  |  | Charlemont |  |  |  | 20 | NR | 1970-07-07 | Well is located 200' West of Legate Hill Road, 2.2 miles North of Route 2. Well type listed as "drilled." | Stavens & Frost | DMST |  | 150
271984 |  |  | Route 2 | Harold B. Paulsen |  | 193 Chestnut Ridge Road |  |  | Montvale |  |  |  | 83 | NR | 1970-04-16 | Well is located 250' North of Route 2, 1.2 miles West of Route 8. Well type listed as "drilled." | Stavens & Frost | DMST | V. E. Bushee | 105
271986 |  |  | Mohawk Trail | Doris M. Taylor |  | Mohawk Trail |  |  | Charlemont |  |  |  | 65 | NR | 1970-03-25 | Well is located 100' South of Route 2, just East of the house, 1.9 miles West of Route 8A. Well type listed as "drilled." | Stavens & Frost | DMST | V. E. Bushee | 255
271987 |  |  | Route 8A | Robert N. Booth |  | 40 Appleton Street |  |  | Waltham |  |  |  | 65 | NR | 1969-11-10 | Well is located 40' West of Route 8A, 600' North of Route 2. Well type listed as "drilled." | Stavens & Frost | DMST | H. R. Hoyt, Jr. | 300
271988 |  |  | Heath Road | Mrs. Moeller & Mrs. Zern c/o Massamount Realty |  | 3 Bridge Street |  |  | Shelburne |  |  |  | 73 | NR | 1969-10-01 | Well is located 600' West of Heath Road, 200' South of the Heath Town Line. Well type listed as "drilled." | Stavens & Frost | DMST | C. W. Towslee | 170
271970 |  |  | Zoar Road | Theodore J. Paulsen | Well #1-492 | Zoar Road |  |  | Rowe |  |  |  | 52 | NR | 1971-06-24 | Well is located 200' from Zoar Road, 1.2 miles from Route 2. Well type listed as "drilled." | Stavens & Frost | DMST | Lee H. Heenes | 205
271971 |  |  | East Hawley Road | George Hunt |  | Old Mill Lane |  |  | Stamford |  |  |  | 36 | NR | 1971-01-01 | Well type listed as "drilled." | R. E. Chapman Company | DMST | G. Fyrberg | 130
271973 |  |  |  | Herbert M. Reed | Well #3-139 | 117 River Street |  |  | West Springfield |  |  |  | 10 | NR | 1970-12-10 | Well is located across the street from an antique barn, next to a house opposite the corner of Route 2 and Route 8A. Well type listed as "drilled." | Stavens & Frost | DMST | R. J. Heard | 125
271974 |  |  |  | Charles L. Coates | Well #2-455 | Creamery Avenue |  |  | Buckland |  |  |  | 45 | NR | 1970-11-10 | Well is located 100' from Burnt Hill Road, .2 miles from West Oxbow Road. Well type listed as "drilled." | Stavens & Frost | DMST | U. E. Bushee | 105
271976 |  |  | West Oxbow Road | Harley E. Hunkler | Well #2-454 | West Oxbow Road |  |  | Charlemont |  |  |  |  | NR | 1970-11-09 | Well is located 300' from West Oxbow Road, .8 miles from Route 2. Well type listed as "drilled." | Stavens & Frost | DMST | U. E. Bushee | 100
271977 |  |  | West Oxbow Road | George Fox | Well #2-453 | West Oxbow Road |  |  | Charlemont |  |  |  | 107 | NR | 1970-11-06 | Well is located 50' from West Oxbow Road, .4 miles from Route 2. Well type listed as "drilled." | Stavens & Frost | DMST | V. E. Bushee | 130
271980 |  |  | Route 2 | Ernest Wood |  | Route 2 |  |  | Charlemont |  |  |  |  | NR | 1970-10-21 | Well is located at the back right corner of the house. Well type listed as "drilled." | G. Limberger | DMST |  | 62
269784 |  |  | Route 8A | Albert E. Maynard |  |  |  |  | Charlemont |  |  |  | 100 | NR | 1969-09-19 | Well is located .5 miles North of Route 2 on Route 8A, 25' East of the road. | Stavens & Frost | DMST | Charles Townlee | 145
145663 | 495 Mountain Road | 495 | Mountain Road | Russell & Lee Risden |  | 97 Main Street |  |  | Waretown |  |  | 2006-08-07 | 6 | Y | 2006-08-10 | Well seal type is drive shoe. Recovery & static water level listed as overflowing. | Lynde Well Drilling, Inc. | DMST | Kenneth C. Lynde | 205 | 42.6278 | -72.8336 | 42 | 37.666 | -72 | 50.014
250449 | 355 Harris Mountain Rd | 355 | Harris Mountain Rd | Michael Kumph |  | 355 Harris Mountain Rd |  |  | Charlemont |  |  | 2007-08-08 | 80 | Y | 2007-08-08 |  | Kirke R. Henshaw, Inc. | DMST | Kirke R. Henshaw | 220 | 42.6358 | -72.8443 | 42 | 38.148 | -72 | 50.658
2977 | From Hawks Hill Rod Take Deer Run Lane O.w On Left |  | From Hawks Hill Rod Take Deer Run Lane O.w On Left | Ronald & Kathleen Jette |  | 18 Old Cyrus Road |  |  | Rowe, Ma |  |  |  | 7 | NR | 2000-11-09 |  | Lynde Well Drilling, Inc. | DMST |  | 275
2978 | 151 West Hawley Road | 151 | West Hawley Road | Kathryn Hallenback |  | 195 Montgomery Street |  |  | Chicopee, Ma |  |  |  |  | NR | 2000-11-07 | well was too close to road. Sealed it up and drilled new well. | Kirke R. Henshaw, Inc. | ? |  | 140
2979 | 151 West Howley Road | 151 | West Howley Road | Kathryn Hallenback |  | 195 Montgomery |  |  | Chicopee, Ma |  |  |  | 6 | NR | 2000-11-07 |  | Kirke R. Henshaw, Inc. | DMST |  | 120
2980 | From Rte 2 , Take Rte 8a N. 1.7 On Left |  | From Rte 2 , Take Rte 8a N. 1.7 On Left | Jerry & Linda Dupree |  | 185 Jacksonville Stage Road |  |  | Charlemont, Ma |  |  |  | 126 | NR | 2000-10-16 |  | Lynde Well Drilling, Inc. | DMST |  | 245
2981 | From Rte 2 Take Rowe Road 1.7 On Left |  | From Rte 2 Take Rowe Road 1.7 On Left | Carleton Roaberts |  | 40 Bray Road |  |  | Shelburn Falls. Ma |  |  |  | 100 | NR | 2000-10-13 |  | Lynde Well Drilling, Inc. | DMST |  | 445
2982 | 151 West Hawley Road | 151 | West Hawley Road | Katheryn Hallenback | Route 8a North St. | 195 Montgomery Street |  |  | Chicopee, Ma |  |  |  | 13 | NR | 2000-09-25 |  | Kirke R. Henshaw, Inc. | DMST |  | 140
2983 | 215 West Oxbow Road | 215 | West Oxbow Road | Darlene Purdue |  | 215 W. Oxboro |  |  | Shelboune Falls, Ma |  |  |  | 50 | NR | 2000-09-22 |  | Kirke R. Henshaw, Inc. | DMST |  | 160
2984 | 73 East Hawley Road | 73 | East Hawley Road | Bill Harker |  | 73 East Hawley Road |  |  | Charlemont |  |  |  | 65 | NR | 2000-08-18 | Hlydrofracted to 2.5 gpm | Kirke R. Henshaw, Inc. | DMST |  | 440
2985 | East Hawley Road |  | East Hawley Road | Mary & John Demirali |  | 89 Crosstown Ave |  |  | West Roxbury, Ma | 15 | 16 |  | 90 | NR | 2000-08-17 | well overflows | Kirke R. Henshaw, Inc. | DMST |  | 280
2986 | From Rte 8a Take Mt Road 0.5 On Left |  | From Rte 8a Take Mt Road 0.5 On Left | Rockwell Lively |  | 24 Heath Branch Road |  |  | Colrain, Ma |  |  |  | 28 | NR | 2000-08-21 |  | Lynde Well Drilling, Inc. | DMST |  | 205
2987 | 193 Main Street | 193 | Main Street | Worcester Central Fed |  | 904 Hartford Turnpike |  |  | Shrewsbury , Ma |  |  |  | 65 | NR | 2000-06-14 |  | Kirke R. Henshaw, Inc. | DMST |  | 180
2988 | Warfield Road |  | Warfield Road | Barry Purington |  | 85 Warfield Road |  |  | Charlemont , Ma | 1 |  |  | 10 | NR | 2000-05-25 |  | Kirke R. Henshaw, Inc. | DMST |  | 140
2989 | 2 Ledge Lane | 2 | Ledge Lane | Frank Carcio |  | Po Box 411 |  |  | Charlemont |  |  |  | 15 | NR | 2000-03-30 |  | Kirke R. Henshaw, Inc. | DMST |  | 440
2990 | From Int. Rte 2 & Legate Hill Road |  | From Int. Rte 2 & Legate Hill Road | Andy Mueller | Take Legate Hill 1.7 North On Right | 118 Meadow Street |  |  | Amherst, Ma |  |  |  | 1 | NR | 2000-03-27 |  | Lynde Well Drilling, Inc. | DMST |  | 345
2991 | 92 Avery Brook Road | 92 | Avery Brook Road | Eric Deane |  | 92 Avery Brook Road |  |  | Charlemont |  |  |  | 27 | NR | 2000-06-13 |  | Kirke R. Henshaw, Inc. | DMST |  | 200
2992 | Potter Road Ext 300 |  | Potter Road Ext 300 | Howard Patrick |  | 122 Telegraph Ave |  |  | Chicoppe, Ma |  |  |  | 12 | NR | 1999-12-21 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 440
2993 | From Jct Rte 8a & S. River Road |  | From Jct Rte 8a & S. River Road | Brian Ovitt | 1.2 South On S.river Road | 44 Crescent Brook Road |  |  | Charlemont, Ma |  |  |  | 165 | NR | 2000-02-09 |  | Lynde Well Drilling, Inc. | DMST |  | 305
2994 | From Rte 8a Take Warriner |  | From Rte 8a Take Warriner | Rockwell Lively | Road. 0.3 On Right | 24 Heath Branch Road |  |  | Colrain, Ma |  |  |  | 22 | NR | 2000-01-06 |  | Lynde Well Drilling, Inc. | DMST |  | 205
2995 | From Rte 2 Take W. Oxbow Road |  | From Rte 2 Take W. Oxbow Road | Mrs Agnes Conley | 2.2 On Right | 79 Robert Street |  |  | Roslindale, Ma |  |  |  | 115 | NR | 1999-08-12 |  | Lynde Well Drilling, Inc. | DMST |  | 165
2996 | 55 Potters Road | 55 | Potters Road | Byron Gilchrest |  | Po Box 2021 |  |  | Charlemont, Ma |  |  |  | 30 | NR | 1999-07-16 |  | Kirke R. Henshaw, Inc. | DMST |  | 280
2997 | 195 Main Street | 195 | Main Street | Craig Lenord |  | 195 Main Street |  |  | Charlemont |  |  |  | 45 | NR | 1999-06-23 |  | Kirke R. Henshaw, Inc. | DMST |  | 160
2998 | 176 Main Street | 176 | Main Street | Richard Salle |  | 176 Main Street |  |  | Charlemont |  |  |  | 35 | NR | 1999-06-24 |  | Kirke R. Henshaw, Inc. | DMST |  | 400
2999 | From Fct Rte 8a & Warner Road |  | From Fct Rte 8a & Warner Road | Bill & Norma Coli | Take Warner Road 1. 7 On Right | 8 Warner Hill Road |  |  | Charlemont , Ma |  |  |  | 20 | NR | 2000-06-09 |  | Lynde Well Drilling, Inc. | DMST |  | 385
3000 | Going North On Rte 8a Take Left On |  | Going North On Rte 8a Take Left On | Gene Cetto | Warren Road 0.7 On Right | 80 Warner Hill Road |  |  | Charlemont, Ma |  |  |  | 245 | NR | 1999-06-02 | deepened well 245'-365' | Lynde Well Drilling, Inc. | DMST |  | 365
20861 | Heath Stage Terrace |  | Heath Stage Terrace | Verne W. Bissell |  | RFD |  |  | Shelburne Falls, Ma. 01370 |  |  |  | 115 |  | 1970-01-01 | This was actually an undated Report, and "01/01/1970" is our best guess for this report date. LP & AL | Stavens & Frost, Inc. | DMST |  | 175
20722 | Potters Road |  | Potters Road | Earl Bowen | [8 empty] | 29 | Y | 1993-01-08 |  | Kirke R. Henshaw, Inc. | DMST |  | 320
20723 | Route 2 |  | Route 2 | Community Bible Church | Babcock Hall | P.O. Box 671 |  |  | Charlemont, Ma. 01339 |  |  |  | 95 | Y | 1992-10-22 |  | Lynde Well Drilling, Inc. | DMST |  | 355
20724 |  |  |  | Russell Dean |  | Box 182 - Heath Road |  |  | Shelburne Falls, Ma. |  |  |  | 127 | Y | 1992-11-27 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 180
20725 | Lot 2 Riddell Road | Lot 2 | Riddell Road | Kenneth Hall |  | Riddell Road, Box 201 |  |  | Charlemont |  |  |  | 88 | Y | 1992-06-23 |  | Meyer Well Drilling Corp. | DMST |  | 365
20726 | Lot 1 Riddell Road | Lot 1 | Riddell Road | Dana & Judy Johnson |  | Riddell Road |  |  | Charlemont |  |  |  | 50 | Y | 1992-06-19 |  | Meyer Well Drilling Corp. | DMST |  | 365
20727 | Lot 49 Rice Road | Lot 49 | Rice Road | Doreen Pellerin |  | Rice Road, Box 335 |  |  | Charlemont |  |  |  | 77 | Y | 1992-08-08 |  | Meyer Well Drilling Corp. | DMST |  | 365
20728 | Lot 48 Rice Road | Lot 48 | Rice Road | Gevirn D. Pleshaw |  | 102 Franklin Street |  |  | Greenfield, Ma. |  |  |  | 78 | Y | 1992-08-06 |  | Meyer Well Drilling Corp. | DMST |  | 365
20729 | Lot 42 Riddell Road | Lot 42 | Riddell Road | Doris Vreeland |  | Riddell Road |  |  | Charlemont |  |  |  | 85 | Y | 1992-08-03 |  | Meyer Well Drilling Corp. | DMST |  | 365
20730 | Lot 43 Riddell Road | Lot 43 | Riddell Road | William Boullco |  | Riddell Road |  |  | Charlemont |  |  |  | 80 | Y | 1992-07-30 |  | Meyer Well Drilling Corp. | DMST |  | 365
20731 | Lot 44 Riddell Road | Lot 44 | Riddell Road | Jonathan Perdue |  | Tea Street |  |  | Charlemont |  |  |  | 82 | Y | 1992-07-28 |  | Meyer Well Drilling Corp. | DMST |  | 405
20732 | Lot 107 Route 2 / Main Street | Lot 107 | Route 2 / Main Street | William Sparks |  | Route 2 |  |  | Charlemont |  |  |  | 89 | Y | 1992-05-06 |  | Meyer Well Drilling Corp. | DMST |  | 365
20697 | Burrington Road |  | Burrington Road | Dennis & Annie Rancourt |  | Harris Mountain Road |  |  | Charlemont, Ma. 01339 |  |  |  | 47 |  | 1995-12-05 |  | Lynde Well Drilling, Inc. | DMST |  | 125
20698 | Route 2 |  | Route 2 | Crab Apple Whitewater |  | Mohawk Trail (Route 2) |  |  | Charlemont, Ma. 01339 |  |  |  | 51 |  | 1995-03-16 | Hydrofracked to 15 gpm. | Kirke R. Henshaw, Inc. | PBWS |  | 440
20699 | Potter Hill Road |  | Potter Hill Road | Robert Schuster |  | P.O. Box 309 |  |  | Charlemont, Ma. 01339 |  |  |  | 46 |  | 1995-10-27 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 140
20700 | East Charlemont Road |  | East Charlemont Road | Terri Peters |  | Route 85, Box 88 |  |  | Shelburne Falls |  |  |  | 40 |  | 1995-09-22 |  | Kirke R. Henshaw, Inc. | DMST |  | 100
20701 | Warner Hill Road #2 |  | Warner Hill Road #2 | Richard Sinistore |  | 191 Heath Road |  |  | Colrain, Ma. 01340 |  |  |  | 235 |  | 1995-09-12 | From Route 8A take Warner Hill Road #2 0.2 on left. | Lynde Well Drilling, Inc. | DMST |  | 475
20702 | 9 North Heath Road (Route 8A) | 9 | North Heath Road (Route 8A) | Gail Beauregard |  | 2 State Street |  |  | Shelburne Falls, Ma. 01376 |  |  |  | 60 |  | 1995-07-25 |  | Kirke R. Henshaw, Inc. | DMST |  | 280
20687 | 2145 Main Street | 2145 | Main Street | Dotty Adams |  | same | [6 empty] | 130 | Y | 1999-11-18 |  | Kirke R. Henshaw, Inc. | DMST |  | 200
20688 | 712 Mohawk Trail / Route 2 | 712 | Mohawk Trail / Route 2 | Tom Herzig |  | (same) | [6 empty] | 95 |  | 1997-05-30 |  | Kirke R. Henshaw, Inc. | DMST |  | 220
20703 | 7 East Oxbow Road | 7 | East Oxbow Road | Rici Oil Co. |  | 400 Chapman Street |  |  | Greenfield, Ma. |  |  |  | 0 | NR | 1995-07-19 | 4 wells | Environmental Compliance Services | MONT |  | 10
20704 | West Oxbow Road |  | West Oxbow Road | Robert Coates |  | West Oxbow Road |  |  | Shelburne Falls, Ma. |  |  |  | 88 |  | 1995-07-14 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 360
20705 | Legate Hill Road |  | Legate Hill Road | Lane Floyd |  | 71 Spring Street |  |  | Amherst, Ma. 01002 |  |  |  | 33 | Y | 1994-10-24 | From Route 2 take Legate Hill Road 1.6 on right. | Lynde Well Drilling, Inc. | DMST |  | 195
20706 | Route 2 |  | Route 2 | Wayne Tatro |  | East Charlemont Road, Box 86 |  |  | Shelburne, Ma. |  |  |  | 39 | Y | 1994-09-27 |  | Morey Well Drilling, Inc. | DMST |  | 500
20689 | Deer Run Lane |  | Deer Run Lane | Edward A. Ralicki |  | HCR 1085, Box 114 |  |  | Shelburn, Ma. 01370 |  |  |  | 4 | NR | 1992-10-15 |  | Morey Well Drilling, Inc. | DMST |  | 630
20690 | Route 8A North |  | Route 8A North | Gregory & Leanne D. Dupree |  | P.O. Box 10, 217 Main Street |  |  | Ashfield, Ma. 01330 |  |  |  | 105 | Y | 1997-05-07 | From Route 2 tae Route 8A North 1.7 on left. | Lynde Well Drilling, Inc. | DMST |  | 195
20691 | West Oxbow Road |  | West Oxbow Road | Dave Specht |  | P. O. Box 154 |  |  | Charlemont, Ma. 01334 |  |  |  | 142 |  | 1997-01-13 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 280
20692 | Maxwell Road |  | Maxwell Road | Amy Wales & Mark Allman |  | P.O. Box 144 |  |  | Shelburne Falls, Ma. 01370 |  |  |  | 15 | Y | 1996-09-23 | From Route 8A take Maxwell [Road] 0.8 on right. | Lynde Well Drilling, Inc. | DMST |  | 415
20693 | Hawk Hill Road |  | Hawk Hill Road | Rockwell Lively |  | 24 Heath Branch Road |  |  | Colrain, Ma. 01340 |  |  |  | 6 |  | 1996-08-29 | from East Oxbow Road take Hawk Hill Road 0.3 on right | Lynde Well Drilling, Inc. | DMST |  | 290
20694 | West Oxbow Road |  | West Oxbow Road | Harris & Gray |  | P.O. Box 300 |  |  | Ashfield, Ma. 01330 |  |  |  | 99 |  | 1996-08-27 | Well is estimated to flow 60 gpm. | Larry G. Cushing & Sons, Inc. | DMST |  | 170
20695 | Warfield Road |  | Warfield Road | John Glaze |  | (same) | [6 empty] | 9 | Y | 1996-06-05 | Hydrofracked to 9 gpm. | Kirke R. Henshaw, Inc. | PBWS |  | 400
20696 | 10 Riddle Street | 10 | Riddle Street | Doreen Pellerin |  | (same) | [6 empty] | 0 |  | 1996-05-07 | Hydrofracked to 5 gpm. Deepened well from 360' to 560'. | Kirke R. Henshaw, Inc. | DMST |  | 560
20733 | Lot 103 Route 2 / Main Street | Lot 103 | Route 2 / Main Street | Russell Stafford |  | Lot 103, Route 2 |  |  | Charlemont |  |  |  | 86 | Y | 1992-05-01 |  | Meyer Well Drilling Corp. | DMST |  | 365
20734 | Lot 101 Route 2 / Main Street | Lot 101 | Route 2 / Main Street | Zoe Wakefield |  | Route 2 / Main Street |  |  | Charlemont |  |  |  | 102 | Y | 1992-04-30 |  | Meyer Well Drilling Corp. | DMST |  | 365
20735 | Lot 102 Route 2 / Main Street | Lot 102 | Route 2 / Main Street | Wallace McLean |  | Route 2 |  |  | Charlemont |  |  |  | 90 | Y | 1992-04-29 |  | Meyer Well Drilling Corp. | DMST |  | 365
20736 | River Road |  | River Road | New England Telephone | sub station |  |  |  | Charlemont, Ma. |  |  |  | 0 | NR | 1992-03-04 | Total of 6 holes drilled. Not a water well. Well is 6" casing. Bentonite sealed inside and out. Boring is for ground rods. | Larry G. Cushing & Sons, Inc. | CTPR |  | 53
20737 | Hawk Hill Road |  | Hawk Hill Road | Kevin Lesurr |  | P.O. Box 627 |  |  | Greenfield, Ma. 01302 |  |  |  | 12 |  | 1992-02-27 |  | Green Mt. Well Co., Inc. | DMST |  | 280
20738 | Hawk Hill Road |  | Hawk Hill Road | Carlton Roberts |  | Bray Road |  |  | Buckland, Ma. |  |  |  | 7 | Y | 1992-02-25 | From junction of East Oxbow Road & Hawk Hill Road, 1.2 on right. 3 1/2 gpm hit at 393'. | Lynde Well Drilling, Inc. | DMST |  | 395
20739 | Lot 115 Route 2 & South Street | Lot 115 | Route 2 & South Street | Diane Charette |  | Route 2 & South Street |  |  | Charlemont, Ma. |  |  |  | 97 | Y | 1991-10-25 |  | Meyer Well Drilling Corp. | DMST |  | 365
20740 | Lot 121 corner Route 2 & South Street | Lot 121 | corner Route 2 & South Street | Lisa Weslowski |  | South Street |  |  | Charlemont |  |  |  | 84 | Y | 1991-09-17 |  | Meyer Well Drilling Corp. | DMST |  | 365
20741 | Lot 116 South Street | Lot 116 | South Street | Mike Magnant |  | South Street |  |  | Charlemont |  |  |  | 91 | Y | 1991-09-09 |  | Meyer Well Drilling Corp. | DMST |  | 365
20742 | South Street |  | South Street | Christine Davis |  | Lot 119, South Street |  |  | Charlemont |  |  |  | 85 | Y | 1991-09-03 |  | Meyer Well Drilling Corp. | DMST |  | 365
20743 | South Street |  | South Street | Rosemarie Richardson |  | 120 South Street |  |  | Charlemont |  |  |  | 89 | Y | 1991-08-30 |  | Meyer Well Drilling Corp. | DMST |  | 365
20744 | 122 Route 2 / Main Street | 122 | Route 2 / Main Street | Cyrus Annear |  | Main Street |  |  | Charlemont |  |  |  | 91 | Y | 1991-08-27 |  | Meyer Well Drilling Corp. | DMST |  | 365
20745 | Route 2 |  | Route 2 | Zoar Outdoor |  | Route 2 |  |  | Charlemont, Ma. |  |  |  | 4 | Y | 1991-07-24 | From Route 2 in Charlemont 0.2 miles west of post office on right. Soft vein at 30'. | Lynde Well Drilling, Inc. | ? |  | 355
20746 | Route 2 / Main Street |  | Route 2 / Main Street | Charlemont Fire Dept. |  | Route 2 |  |  | Charlemont, Ma. 01339 |  |  |  | 83 | Y | 1991-07-01 |  | Meyer Well Drilling Corp. | DMST |  | 365
20747 | Legate Hill Road |  | Legate Hill Road | Allen Willis |  | 157 Legate Hill Road |  |  | Charlemont, Ma. |  |  |  | 128 | Y | 1991-03-13 | From Route 2, take Legate Hill Road 0.1 mile on left. Pump test done on 3/15/91 with pump in well. | Lynde Well Drilling, Inc. | DMST |  | 355
20748 | Route 2 |  | Route 2 | Veratec | Tower-Umstot Farm | Route 112 |  |  | Colrain, Ma. |  |  |  | 0 |  | 1990-10-26 |  | B L Myers Bros | MONT |  | 10
20749 | Warner Hill Road |  | Warner Hill Road | William & Norma Coli |  | Warner Hill Road |  |  | Charlemont, Ma. |  |  |  | 20 | Y | 1990-10-10 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 340
20750 | Legate Hill Road |  | Legate Hill Road | W.L. Morrell |  | 88 Brookside Drive |  |  | West Hartford, Conn. 06107 |  |  |  | 9 | Y | 1990-08-27 | From Route 2 take [Legate Hill] Road, 1.3 miles on left in [sic]. | Lynde Well Drilling, Inc. | DMST |  | 125
20751 | Burrington Road |  | Burrington Road | Paul Cormier |  | 44 Mechanics Street |  |  | Shelburne Falls, Ma. |  |  |  | 44 | Y | 1990-08-08 |  | Lynde Well Drilling, Inc. | DMST |  | 195
20752 | Hawk Hill Road |  | Hawk Hill Road | Bruce Vaniderstine |  | (same) | [6 empty] | 1.5 | Y | 1990-07-26 |  | Kirke R. Henshaw, Inc. | DMST |  | 350
20753 | Heath Center Road |  | Heath Center Road | Alan Booth |  | 2A Jonathan Road |  |  | Burlington, Ma. |  |  |  | 2 | NR | 1990-07-17 | Permit not required. | Morey Well Drilling, Inc. | DMST |  | 320
20754 | Route 2 |  | Route 2 | Douglas Finn |  | P. O. Box 286 |  |  | Charlemont, Ma. 01339 |  |  |  | 8 | Y | 1990-07-10 |  | Kirke R. Henshaw, Inc. | DMST |  | 220
20755 | Route 2 |  | Route 2 | Sandri Oil Co. |  |  |  |  | Charlemont, Ma. |  |  |  | 0 |  | 1990-02-28 | 5 wells | Environmental Compliance Services | MONT |  | 15
20756 | Main Street |  | Main Street | Dorothy Sherman |  | Main Street |  |  | Charlemont, Ma. |  |  |  | 92 | Y | 1990-01-24 |  | Kirke R. Henshaw, Inc. | DMST |  | 200
20757 | Route 2 |  | Route 2 | Town of Charlemont |  |  |  |  | Charlemont, Ma. |  |  |  | 92 | Y | 1990-01-19 |  | Kirke R. Henshaw, Inc. | DMST |  | 360
20758 | Legate Hill Road |  | Legate Hill Road | David Hazlett |  | Tea Street |  |  | Charlemont, Ma. 01339 |  |  |  | 136 |  | 1990-01-05 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 200
20759 | Harmony Lane |  | Harmony Lane | Ed & Barbara Harris |  | P.O. Box 259, Harmony Lane |  |  | Charlemont, Ma. |  |  |  | 60 | Y | 1989-10-30 | Well is 0.2 miles west of 8A north at end of Harmony Lane. Water-bearing zone "shale & quartz", but no depth given. | Lynde Well Drilling, Inc. | DMST |  | 155
20760 | Route 2 |  | Route 2 | Louis Sagan |  | 16 Elm Street |  |  | Greenfield, Ma. 01301 |  |  |  | 120 | Y | 1989-10-27 | 1.8 miles west of Junction of Routes 2 & 8A | Lynde Well Drilling, Inc. | DMST |  | 235
20761 | Mountain Road |  | Mountain Road | Ms. Ruth Otico |  | Mountain Road |  |  | Charlemont, Ma. 01339 |  |  |  | 0 | Y | 1989-10-13 | From Route 2 take Mountain Road 1.8 miles on left. | Lynde Well Drilling, Inc. | DMST |  | 155
20762 | Burnt Hill Road |  | Burnt Hill Road | John & Elizabeth Hobbs |  | 1125 5th Avenue |  |  | New York, N.Y. 10128 |  |  |  | 8 | Y | 1989-10-12 | 1.2 miles on right at end of pavement. Well near garage. Shale to 300, hard rock after. Will hydrofrac. | Lynde Well Drilling, Inc. | DMST |  | 535
20763 | Burnt Hill Road |  | Burnt Hill Road | John & Elizabeth Hobbs |  | 1125 5th Avenue |  |  | New York, N.Y. 10128 |  |  |  | 130 | Y | 1989-10-10 | 1.2 miles on right at end of pavement. Casing unknown; existing well. Deepened well from 130' for 535'. | Lynde Well Drilling, Inc. | DMST |  | 535
20764 | corner of Route 2 & 8A |  | corner of Route 2 & 8A | Wells Corner Store |  | P.O. Box 227 |  |  | Charlemont, Ma. |  |  |  | 73 | Y | 1989-08-18 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 300
20765 | Route 2 |  | Route 2 | Patty Stafford |  | P.O. Box 97 |  |  | Charlemont, Ma. 01339 |  |  |  | 63 | Y | 1989-08-17 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 400
20766 | East Hawley Road |  | East Hawley Road | George Hunt |  | 38 Old Mill Lane |  |  | Stamford, CT. 06902 |  |  |  | 29 | Y | 1989-07-28 |  | Kirke R. Henshaw, Inc. | DMST |  | 140
20767 | Hawk Hill Road |  | Hawk Hill Road | Mike Katz |  | 634 East 14th Street, Apt. 6 |  |  | New York, N.Y. 10009 |  |  |  | 5 |  | 1989-07-27 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 400
20768 | Tower Road |  | Tower Road | Bud & Stacy Ware |  | P.O. Box 162 |  |  | Conway, Ma. 01341 |  |  |  | 8 | Y | 1989-07-27 |  | Kirke R. Henshaw, Inc. | DMST |  | 180
20769 | Lot 39 Hawk Hill Road | Lot 39 | Hawk Hill Road | Charlie Coster |  | Box 120, Heath Station |  |  | Shelburne Falls, Ma. 21370 |  |  |  | 0.5 | Y | 1989-07-21 | hydro fracked | Larry G. Cushing & Sons, Inc. | DMST |  | 400
20770 | Route 2 |  | Route 2 | Brian McColgan | academy at Charlemont | 44 Old Albany Road |  |  | Greenfield |  |  |  | 125 |  | 1989-06-26 |  | Kirke R. Henshaw, Inc. | DMST |  | 160
20771 | Route 2 |  | Route 2 | Richard King |  | Heath Stage Road |  |  | Shellburne Falls, Ma. |  |  |  | 18 |  | 2004-12-28 | Route 2, 1.2 mile west of intersection w/ Route 112 | Kirke R. Henshaw, Inc. | DMST |  | 180
20772 | Berkshire East Ski Area |  | Berkshire East Ski Area | Deer River Assoc. | off Thunder Mountain Road |  |  |  | Charlemont, Ma. |  |  |  | 68 |  | 1988-12-21 | well #5 | Kirke R. Henshaw, Inc. | DMST |  | 340
20773 | Berkshire East Ski Area |  | Berkshire East Ski Area | Deer River Association | off Thunder Mountain Road |  |  |  | Charlemont, Ma. |  |  |  | 43 |  | 1988-12-17 | Buckland Road 0.1 mile east of intersection w/ East Hawley Road. | Kirke R. Henshaw, Inc. | DMST |  | 440
20774 | Berkshire East Ski Area |  | Berkshire East Ski Area | Deer River Assoc. | off Thunder Mountain Road | [7 empty] | 76 |  | 1988-12-10 | Buckland Road 0.1 mile east of intersection w/ East Hawley Road. Well #3 | Kirke R. Henshaw, Inc. | DMST |  | 300
20775 | Berkshire East Ski Area |  | Berkshire East Ski Area | Deer River Assoc. | off Thunder Mountain Road |  |  |  | Charlemont, Ma. |  |  |  | 55 |  | 1988-12-09 | well #2 | Kirke R. Henshaw, Inc. | DMST |  | 440
20776 | Berkshire East Ski Area |  | Berkshire East Ski Area | Deer River Assoc. | off Thunder Mountain Road |  |  |  | Charlemont |  |  |  | 46 |  | 1988-12-07 | well #1 | Kirke R. Henshaw, Inc. | DMST |  | 440
20777 | Hawk Hill Road |  | Hawk Hill Road | John Maynard |  | High Stage Terrace |  |  | Shelburne Falls 01370 |  |  |  | 92 |  | 1988-12-05 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 140
20778 | Route 2 |  | Route 2 | Allyn W. Coombs |  | 293 Russell Street |  |  | Hadley, Ma. 01035 |  |  |  | 81 |  | 1988-12-02 |  | Morey Well Drilling, Inc. | DMST |  | 320
20779 | Berkshire East Ski Area |  | Berkshire East Ski Area | Deer River Assoc. | off Thunder Mountain Road | P.O. Box U |  |  | Charlemont |  |  |  | 0 |  | 1988-11-20 | 1/10th mile east of East Hawley Road. Well #2A | Kirke R. Henshaw, Inc. | DMST |  | 360
20780 | Berkshire East Ski Area |  | Berkshire East Ski Area | Deer River Assoc. | off Thunder Mountain Road | P.O. Box U |  |  | Charlemont |  |  |  | 14 |  | 1988-11-18 | 1/10 east on East Hawley Road. Well #1A | Kirke R. Henshaw, Inc. | DMST |  | 440
20781 | Berkshire Ski Area |  | Berkshire Ski Area | Bruce Graham / Deer River Inc. |  | P.O. Box U |  |  | Charlemont, Ma. |  |  |  | 4 |  | 1988-10-26 | 1/10 east on East Hawley Road. Well #5 | Kirke R. Henshaw, Inc. | DMST |  | 440
20782 | Berkshire East Ski Area |  | Berkshire East Ski Area | Bruce Graham / Deer River, Inc. | off Thunder Mountain Road | P.O. Box U |  |  | Charlemont |  |  |  | 7 |  | 1988-10-25 | well #4 1/10 east of East Hawley Road. | Kirke R. Henshaw, Inc. | DMST |  | 320
20783 | Berkshire East Ski Area |  | Berkshire East Ski Area | Bruce Graham / Deer River, Inc. | off Thunder Mountain Road | P.O. Box U |  |  | Charlemont |  |  |  | 3 |  | 1988-10-21 | 1/10 east of East Hawley Road. Well 3 | Kirke R. Henshaw, Inc. | DMST |  | 440
20784 | Berkshire East Ski Area |  | Berkshire East Ski Area | Bruce Graham / Deer River Inc. | off Thunder Mountain Road | P.O. Box U |  |  | Charlemont |  |  |  | 3 |  | 1988-10-20 | well #2 1/10 east of East Hawley Road | Kirke R. Henshaw, Inc. | DMST |  | 440
20785 | Route 2 |  | Route 2 | East Charlemont Bible Church |  | Box A |  |  | Charlemont | [5 empty] | 1988-10-19 | 1.3 miles east of Charlemont on left side of Route 2 | Lynde Well Drilling, Inc. | DMST |  | 275
14904 | 418 Legate Hill Road | 418 | Legate Hill Road | Earl Bown |  | P.o. Box 383 |  |  | Charlemont |  |  |  | 4 |  | 2002-06-07 |  | Green Mt. Well Co., Inc. | DMST |  | 200
20824 | Street Unknown (?) |  | Street Unknown (?) | Mr. & Mrs. Earl Blinn |  | High Street |  |  | Greenfield, Ma. |  |  |  | 0 |  | 1984-09-01 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 520
20801 | South River Road |  | South River Road | Elizabeth Zoito |  | 482 N. Horsac Road |  |  | Williamstown, Ma. 01267 |  |  |  | 0 |  | 1988-02-16 |  | A & W Artesian Well Company | DMST |  | 305
20841 | Street Unknown (?) |  | Street Unknown (?) | Molly Scott |  |  |  |  | Charlemont, Ma. |  |  |  | 13 |  | 1980-11-14 |  | North East Well Drilling, Inc. | DMST |  | 100
20842 | West Oxbow Road |  | West Oxbow Road | Earl Reopell |  | Heath Star Route |  |  | Shelburne Falls, Ma. |  |  |  | 25 |  | 1980-10-15 |  | Frost, Inc. | DMST |  | 180
20843 | Legate Hill Road |  | Legate Hill Road | Richard Belair |  | 83 Country Club Road |  |  | Greenfield, Ma. |  |  |  | 0 |  | 1980-06-01 |  | Frost, Inc. | DMST |  | 180
20844 | Legate Hill Road |  | Legate Hill Road | Doris Scyler Scott |  | 201st Street, Paul's Avenue, Suite 17G |  |  | Jersey City, N.J. |  |  |  | 0 |  | 1980-05-02 |  | Frost, Inc. | DMST |  | 140
20845 | Route 8A |  | Route 8A | Steven Taylor |  | West Hawley Road |  |  | Charlemont, Ma. 01339 |  |  |  | 0 |  | 1980-03-14 |  | Frost, Inc. | DMST |  | 120
20846 | Heath Stage Road |  | Heath Stage Road | Mohawk Medical Center |  | Heath Stage Road |  |  | Shelburne Falls, Ma. |  |  |  | 0 |  | 1979-10-22 | In Static Water Level field: "1/2 gpm overflow" | Stavens & Frost, Inc. | PBWS |  | 145
20847 | Route 2 - Mohawk Trail |  | Route 2 - Mohawk Trail | Richard Bonney |  | Mohawk Trail |  |  | Charlemont, Ma. 01339 |  |  |  | 0 |  | 1979-09-24 |  | Stavens & Frost, Inc. | DMST |  | 230
20848 | 16 Potters Road | 16 | Potters Road | Donald Muskus |  | 28 Division Street |  |  | Greenwich, CT. 06830 |  |  |  | 0 |  | 1979-08-01 |  | Stavens & Frost, Inc. | DMST |  | 205
20825 | Street Unknown (?) |  | Street Unknown (?) | William MacLeish |  |  |  |  | Charlemont, Ma. |  |  |  | 9 |  | 1984-08-21 |  | Frost, Inc. | DMST |  | 100
20826 | Street Unknown (?) |  | Street Unknown (?) | Mr. & Mrs. Earl Blinn |  | 2 Rich Street |  |  | Greenfield, Ma. |  |  |  | 106 |  | 1984-07-21 | several small seams to produce 3/4 gpm | Larry G. Cushing & Sons, Inc. | DMST |  | 520
20827 | off Warner Hill Road |  | off Warner Hill Road | B. Landauer & B. Janousek |  | 224 Old Nyack Turnpike #7 |  |  | Spring Valley, N. Y. |  |  |  | 0 |  | 1984-06-13 |  | E. H. Hartley | DMST |  | 305
20828 | Street Unknown (?) |  | Street Unknown (?) | Don Schecterle |  |  |  |  | Colrain, Ma. |  |  |  | 37 |  | 1984-05-10 |  | Frost, Inc. | DMST |  | 180
20829 | West Holly Road |  | West Holly Road | Sunny Day Farm |  |  |  |  | Charlemont, Ma. |  |  |  | 0 |  | 1984-02-01 |  | North East Well Drilling | DMST |  | 275
20830 | Street Unknown (?) |  | Street Unknown (?) | Philip Wood |  | Vincent Road |  |  | Charlemont, Ma. 01339 |  |  |  | 0 |  | 1982-12-01 |  | Frost, Inc. | DMST |  | 200
20831 | Street Unknown (?) |  | Street Unknown (?) | Marshall Johnson |  | North River Road, Box 12 |  |  | Shelburne Falls, Ma. 01370 | [5 empty] | 1982-10-16 |  | Frost, Inc. | DMST |  | 160
20832 | Street Unknown (?) |  | Street Unknown (?) | Hall Tavern Farm |  |  |  |  | Charlemont, Ma. 01339 |  |  |  | 0 |  |  |  | Frost, Inc. | IRRG |  | 300
20833 | Main Street |  | Main Street | Charlemont Inn | Charlemont Inn (see comments) | (same) | [6 empty] | 102 |  | 1982-10-01 | "Granite" is indicated as a water-bearing rock, but no Zone is indicated. [There is a Charlemont Inn on Route 2, the Mohawk Trail, but none on Main Street that I can find. AL] | A & W Artesian Well Company | DMST |  | 145
20834 | Route 2 |  | Route 2 | Bill & Agnes Roberts |  | Route 2 |  |  | Charlemont, Ma. |  |  |  | 0 |  | 1981-12-01 |  | Frost, Inc. | DMST |  | 160
20835 | Route 2 |  | Route 2 | Jon Cremins - Harmony Heights |  | Box 76 |  |  | Charlemont |  |  |  | 0 |  | 1981-06-14 |  | Frost, Inc. | DMST |  | 180
20849 | Route 2 |  | Route 2 | Larry Burrington | Red Rose Apartments | Tea Street |  |  | Charlemont, Ma. |  |  |  | 0 |  | 1979-05-16 |  | Stavens & Frost, Inc. | DMST |  | 200
20850 | East Oxbow Road |  | East Oxbow Road | George M. Weller | Oxbow Development | 463 West Street, Apt. H1022 |  |  | New York, N.& |  |  |  | 0 |  | 1979-03-01 |  | Stavens & Frost, Inc. | DMST |  | 250
20851 | Heath Stage Terrace |  | Heath Stage Terrace | Roger bissel |  |  |  |  | Charlemont, Ma. |  |  |  | 0 |  | 1979-02-27 |  | Stavens & Frost, Inc. | DMST |  | 150
20852 | Street Unknown (?) |  | Street Unknown (?) | Gene Poissant |  | Steady Lane |  |  | Ashfield, Ma. 01330 |  |  |  | 0 |  | 1978-11-29 |  | Stavens & Frost, Inc. | DMST |  | 425
20853 | junction Route 2 & Route 8A |  | junction Route 2 & Route 8A | Franklin County Regional Housing Authority |  | 16 Federal Street |  |  | Greenfield, Ma. 01565 |  |  |  | 0 |  | 1976-02-10 |  | H. N. Rayworth, Inc. | DMST |  | 30
20854 | Street Unknown (?) |  | Street Unknown (?) | John Gedutis |  | Stone Road |  |  | Shelburne Falls, Ma. 01370 |  |  |  | 0 |  | 1975-05-20 |  | Stavens & Frost, Inc. | DMST |  | 125
20855 | Street Unknown (?) |  | Street Unknown (?) | Lawrence A. Sherman |  | Davis Mine Road |  |  | Charlemont, Ma. |  |  |  | 20 |  | 1975-05-20 |  | Stavens & Frost, Inc. | DMST |  | 125
20856 | Street Unknown (?) |  | Street Unknown (?) | Paul E. Grogan |  | 807 Mott Hill Road |  |  | S. Glastonbury, CT. |  |  |  | 1 |  | 1975-05-19 |  | Frost, Inc. | DMST |  | 300
20857 | Mohawk Trail |  | Mohawk Trail | Edgar G. Dickson |  | Mohawk Trail |  |  | Charlemont, Ma. 01339 |  |  |  | 29 |  | 1974-10-09 |  | Stavens & Frost, Inc. | DMST |  | 80
20858 | Route 2 |  | Route 2 | National Land Corp. |  | c/o James Parker |  |  | Charlemont, Ma. |  |  |  | 12 |  | 1973-12-04 |  | Stavens & Frost, Inc. | DMST |  | 130
20859 | Street Unknown (?) |  | Street Unknown (?) | William J. Bernier |  | Charlemont Road |  |  | Shelburne Falls, Ma. |  |  |  | 115 |  | 1973-07-13 | "Schist" is a water bearing rock at 150' | Stavens & Frost, Inc. | DMST |  | 150
20860 | Box 76 |  | Box 76 | Mr. Paul Cronk |  | Box 76 |  |  | Charlemont, Ma. |  |  |  | 45 |  | 1972-06-21 |  | Stavens & Frost, Inc. | DMST |  | 305
100790 | 165 Main Street | 165 | Main Street | Christopher Burke |  | Po Box 51 |  |  | Clarlemont, Ma |  |  |  | 64 | NR | 2001-08-09 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 300
20802 | Route 8A |  | Route 8A | Paul Snyder |  | Route 8A |  |  | Charlemont, Ma. |  |  |  | 0 |  | 1987-11-05 | replacement well | Lynde Well Drilling, Inc. | DMST |  | 155
20803 | Deer Run Road |  | Deer Run Road | Mr. William Lawless |  | Deer Run Road |  |  | Charlemont, Ma. |  |  |  | 0 |  | 1987-10-23 | "last lot on left before (colder sack) [sic]" After hydrofracing 3 1/2 gpm. | Lynde Well Drilling, Inc. | DMST |  | 495
20804 | Windy Hill Road |  | Windy Hill Road | Robert & Ellen Miller |  | P.O. Box 425 |  |  | Ashfield, Ma. 01330 |  |  |  | 65 |  | 1987-09-02 |  | Frost Well Drilling | DMST |  | 180
20805 | Warner Hill Road |  | Warner Hill Road | Kevin Ford |  | Warner Hill Road |  |  | Charlemont, Ma. |  |  |  | 20 |  | 1987-08-19 |  | Frost Well Drilling | DMST |  | 300
20806 | Mohawk Trail |  | Mohawk Trail | Sharon Redmond |  | Box 187 |  |  | Charlemont, Ma. 01339 |  |  |  | 72 |  | 1987-07-18 |  | Frost, Inc. | DMST |  | 100
20807 | Route 2 |  | Route 2 | Irving Mallette |  | Route 2 |  |  | Charlemont, Ma. 01339 |  |  |  | 0 |  | 1987-05-28 |  | Frost Well Drilling | DMST |  | 120
20808 | Mountain View Road |  | Mountain View Road | Jeff Frey |  | (same) | [6 empty] | 1 |  | 1987-06-06 |  | Kirke R. Henshaw, Inc. | DMST |  | 220
20809 | 3 Rock Ledge Road | 3 | Rock Ledge Road | Robert Hess |  | 3 Rock Ledge Road |  |  | Charlemont |  |  |  | 10 |  | 1987-04-24 |  | Tri-State Well Drilling Co. | DMST |  | 120
20810 | Lot 1 Heath Stage Terrace | Lot 1 | Heath Stage Terrace | Heritage Homes |  | 2 Main Street |  |  | Greenfield, Ma. 01301 |  |  |  | 121 |  | 1986-12-12 |  | Frost Well Drilling | DMST |  | 121
20811 | Warner Hill Road |  | Warner Hill Road | Hy Glen Farm - Blue Heron Farm | Hy Glen Farm - Blue Heron Farm | Warner Hill Road |  |  | Charlemont |  |  |  | 0 |  | 1986-12-08 |  | Frost Well Drilling | DMST |  | 220
20812 | Heath Stage Terrace |  | Heath Stage Terrace | Heritage Home Builders |  | Main Street |  |  | Greenfield, Ma. |  |  |  | 55 |  | 1986-11-03 |  | Green Mountain Well Co., Inc. | DMST |  | 229
20813 | Heath Stage Terrace |  | Heath Stage Terrace | Verne Bissell |  | Heath Stage Terrace |  |  | Shelburne Falls, Ma. |  |  |  | 100 |  | 1986-11-03 |  | Green Mountain Well Co., Inc. | DMST |  | 130
20814 | Legate Hill Road |  | Legate Hill Road | Steve LeToure |  | (same) | [6 empty] | 11 |  | 1986-01-03 |  | Kirke R. Henshaw, Inc. | DMST |  | 220
20815 | Streeter Way |  | Streeter Way | John Guest, Jr. for Craig Gerry |  | 21 Miami Court |  |  | Groton, CT. 06340 |  |  |  | 0 |  | 1985-09-06 |  | North East Well Drilling | DMST |  | 325
20816 | Route 2 |  | Route 2 | Herm Phillip / Oxbow Restaurant |  | Route 2 |  |  | Charlemont, Ma. 01339 |  |  |  | 0 |  | 1985-08-26 |  | North East Well Drilling | PBWS |  | 100
20817 | Street Unknown (?) |  | Street Unknown (?) | Douglas Anear |  |  |  |  | Charlemont, Ma. |  |  |  | 0 |  | 1985-08-01 |  | Frost Well Drilling | DMST |  | 200
20818 | Street Unknown (?) |  | Street Unknown (?) | Barnard's Restaurant |  | P.O. Box F |  |  | Charlemont, Ma. 01339 |  |  |  | 0 |  | 1985-07-30 |  | Frost Well Drilling | INDS |  | 440
20819 | Potter's Road |  | Potter's Road | John Winfisky |  | 77 W. Market Street |  |  | Corning, N.Y. 14830 |  |  |  | 0 |  | 1985-06-27 |  | North East Well Drilling | DMST |  | 155
20820 | North Heath Road |  | North Heath Road | Robert Booth |  | Box 234, N. Heath Road |  |  | Charlemont |  |  |  | 0 |  | 1985-06-16 |  | Frost Well Drilling | DMST |  | 260
20821 | 2023 Mohawk Trail | 2023 | Mohawk Trail | Linda Braun | Hilltop Motel | [7 empty] | 0 |  | 1984-10-02 | Casing grouted in. | Frost, Inc. | DMST |  | 500
20822 | Street Unknown (?) |  | Street Unknown (?) | Mr. & Mrs. Charles Byrnes |  | Mountain Road |  |  | Charlemont, Ma. |  |  |  | 0 |  | 1984-10-01 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 260
20823 | East Oxbow Road |  | East Oxbow Road | Vincent Svelnis |  | East Oxbow Road |  |  | Charlemont, Ma. |  |  |  | 0 |  | 1984-09-06 | B-5 (grid location) | Lynde Well Drilling, Inc. | DMST |  | 94
20836 | Route 2 |  | Route 2 | Richard Flaherty |  | P.O. 103, Rice Road |  |  | Charlemont |  |  |  | 0 |  | 1981-09-23 | "Granite" bears water, but no Zone given. AL | Frost, Inc. | DMST |  | 160
20837 | Route 2 - West |  | Route 2 - West | Robert Pilling, c/o Beacon Realty |  | 11 Beacon Street |  |  | Greenfield, Ma. |  |  |  | 0 |  | 1981-09-02 |  | Frost, Inc. | DMST |  | 104
20838 | Westfield Road |  | Westfield Road | Wallace Mclean |  | Warfield Road |  |  | Charlemont, Ma. |  |  |  | 0 |  | 1981-08-21 |  | Frost, Inc. | ? |  | 125
20839 | Route 2 |  | Route 2 | Verne & Noga Henry |  | Mohawk Trail |  |  | Charlemont |  |  |  | 0 |  | 1981-08-20 |  | Frost, Inc. | DMST |  | 125
20840 | 263 ? Warner Hill Road ? | 263 ? | Warner Hill Road ? | Valley Zendo |  | 263 Warner Hill Road |  |  | Charlemont |  |  |  | 4 |  | 1981-03-01 |  | North East Well Drilling, Inc. | DMST |  | 250
20707 | off Route 2 |  | off Route 2 | Francis & Nina Graves |  | 65 Fiske Mill Road |  |  | Shelburne, Ma. 01370 |  |  |  | 38 | Y | 1994-08-09 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 360
20708 | Legate Hill Road |  | Legate Hill Road | Richard DeFilippi |  | 182 Upland Road |  |  | Cambridge, Ma. 02140 |  |  |  | 6 |  | 1994-07-21 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 200
20709 | North River Road |  | North River Road | Bruce Dearborne | [8 empty] | 48 | Y | 1994-04-12 |  |  | DMST |  | 160
20710 | North River Road |  | North River Road | FCHA |  | Canal Street |  |  | Turners Falls, Ma. |  |  |  | 55 | Y | 1994-03-09 |  | Kirke R. Henshaw, Inc. | DMST |  | 340
20711 | Harmony Hill Road |  | Harmony Hill Road | Ron Mansi |  | 56 Marilyn Drive |  |  | Providence, R.I. 02904 |  |  |  | 27 | Y | 1994-01-06 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 180
20712 | Route 2 |  | Route 2 | John Pizzi |  | (same) | [6 empty] | 2 | Y | 1993-12-21 |  | Kirke R. Henshaw, Inc. | DMST |  | 200
20713 | Mohawk Trail / Route 2 |  | Mohawk Trail / Route 2 | Doug Finn |  | (same) | [6 empty] | 95 | Y | 1993-12-09 |  | Kirke R. Henshaw, Inc. | DMST |  | 340
21276 | Legate Hill Road |  | Legate Hill Road | William Didul | Mountain View Drive (?) | 564 Ashford Avenue |  |  | Ardsley, N.Y. 10502 |  |  |  | 52 |  | 1993-07-08 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 280
21277 | Route 2 |  | Route 2 | Donald Gritzner |  | Box 263 |  |  | Charlemont, Ma. 01339 |  |  |  | 108 |  | 1995-07-12 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 220
20714 | Legate Hill Road |  | Legate Hill Road | Ted Willard |  | R.R. 1 Box 158 |  |  | Charlemont, Ma. 01339 |  |  |  | 69 | Y | 1993-10-28 | From Route 2 take Legate Hill Road 1.4 on left. | Lynde Well Drilling, Inc. | DMST |  | 375
20715 | Route 2 |  | Route 2 | Francis Slaunwhite |  | Route 2 / Mohawk Trail |  |  | Charlemont, Ma. 01339 |  |  |  | 20 | Y | 1993-10-27 | Going east on Route Two 1.4 east of Junction 8A | Lynde Well Drilling, Inc. | DMST |  | 355
20716 | South River Road |  | South River Road | Ruth & Vincent Cannavo |  | 34 South River Road |  |  | Charlemont, Ma. 01339 |  |  |  | 158 | Y | 1993-09-28 | From Junction 8A South River Road 1 mile south on River Road | Lynde Well Drilling, Inc. | DMST |  | 175
20717 | Route 2 East |  | Route 2 East | Norm Tatro |  | Route 2 East |  |  | Charlemont |  |  |  | 15 | NR | 1993-09-28 |  | Morey Well Drilling, Inc. | DMST |  | 240
20718 | East Hawley Road |  | East Hawley Road | Paul Chichabowicz |  | 8 South Lyman Road |  |  | Millers Falls, Ma. 01349 |  |  |  | 108 |  | 1993-01-02 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 320
20719 | Country Air Road |  | Country Air Road | Mr. Sherman Pike |  | 167 Mohawk Trail |  |  | Charlemont, Ma. 01339 |  |  |  | 67 | Y | 1993-07-24 |  | Lynde Well Drilling, Inc. | DMST |  | 255
20720 | corner of Route 2 and Avery Road |  | corner of Route 2 and Avery Road | Rizzo Associates |  | 9 Cranbrook Boulevard |  |  | Enfield, CT. |  |  |  | 0 |  | 1993-06-01 |  | EDI | MONT |  | 25
20721 | Hillindale Road |  | Hillindale Road | Mr. Peter Bravmann |  | R.R. 2 Box 355 |  |  | Shelburne Falls, Ma. 01370 |  |  |  | 11 | Y | 1993-04-20 | From Route 2 take Hillindale Road 0.1 mile on left. | Lynde Well Drilling, Inc. | DMST |  | 175
20786 | off Thunder Mountain Road |  | off Thunder Mountain Road | Bruce Graham - Deer River Inc. | Berkshire East Ski Area | P.O. Box U |  |  | Charlemont, Ma. |  |  |  | 3 |  | 1988-12-21 | well #1 -- .1 [mile] east of East Hawley Road | Kirke R. Henshaw, Inc. | DMST |  | 600
20787 | Tower Road |  | Tower Road | John Leary |  | Berkshire Avenue |  |  | Southwick |  |  |  | 35 |  | 1988-09-30 | 2 miles east of junction with Route 2 | Kirke R. Henshaw, Inc. | DMST |  | 180
20788 | Potter Road |  | Potter Road | Terry Ray Sullivan |  | P.O. Box 196 |  |  | Shelburne Falls, Ma. 01370 |  |  |  | 1 |  | 1988-09-23 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 280
20789 | Street Unknown (?) |  | Street Unknown (?) | Jandale Construction |  | P.O. Box 216 |  |  | Charlemont, Ma. |  |  |  | 20 |  | 1988-09-22 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 260
20790 | Berkshire East Ski Area |  | Berkshire East Ski Area | Bruce Graham Assoc. | off Thunder Mountain Road | 11 Grumman Hill Road |  |  | Wilton, CT. |  |  |  | 11 |  | 1988-08-24 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 300
20791 | Hawk Hill Road |  | Hawk Hill Road | Donald Geitzner |  | P.O. Box 263 |  |  | Charlemont, Ma. 01339 |  |  |  | 8 |  | 1988-08-19 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 400
20792 | Lot 4 Mountain Road | Lot 4 | Mountain Road | Tom Peterson |  | (same) | [6 empty] | 14 |  | 1988-08-16 |  | Kirke R. Henshaw, Inc. | DMST |  | 300
20793 | Warfield Road |  | Warfield Road | John Glaze | [8 empty] | 3 |  | 1988-07-18 | "Warfield Rd 1 mi N. of int Charlemont w/ Rte [sic]" | Kirke R. Henshaw, Inc. | DMST |  | 320
20794 | Moutain Road |  | Moutain Road | Jerry Winter |  |  |  |  | Conway, Ma. |  |  |  | 9 |  | 1988-07-15 |  | Sullivan & Daughter | DMST |  | 265
20795 | Legate Hill Road |  | Legate Hill Road | Carl Steinwachs |  | R.R. 1 Box 169 |  |  | Charlemont, Ma. 01339 |  |  |  | 80 |  | 1988-07-12 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 160
20796 | Lot 2 Warner Hill Road | Lot 2 | Warner Hill Road | Jonathan Patton |  | Box 35 B Heath Stage |  |  | Shelburne Falls, Ma. | [5 empty] | 1988-06-20 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 300
20797 | Warner Hill Road |  | Warner Hill Road | Dennis Griswold |  | West Hawley Road |  |  | Charlemont, Ma. 01339 |  |  |  | 0 |  | 1988-06-18 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 240
20798 | off Burrington Road |  | off Burrington Road | Harker Construction |  | Box 225 |  |  | Charlemont, Ma. 01339 |  |  |  | 0 |  | 1988-05-26 | Water-bearing rock: "shale", but no depth indicated. "Hydro-frac. Do not know where water came from." | Larry G. Cushing & Sons, Inc. | DMST |  | 400
20799 | Route 2 |  | Route 2 | Howard Crowninshield Bldr. |  | RFD |  |  | Charlemont, Ma. 01339 |  |  |  | 85 |  | 1988-05-11 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 340
20800 | Street Unknown (?) |  | Street Unknown (?) | Harley Hunkler |  | Box 63A |  |  | Shelburne Falls, Ma. 01370 |  |  |  | 138 |  | 1988-04-08 |  | Frost Well Drilling | DMST |  | 200
100396 | 1921 Mohawk Trail | 1921 | Mohawk Trail | Winston Healy |  | 1849 Mohawk Trail |  |  | Charlemont 01370 |  |  |  | 0 | NR | 2001-04-27 |  | Kirke R. Henshaw, Inc. | DMST |  | 160
103922 | 2183 Mohawk Trail | 2183 | Mohawk Trail | Winsor Mitchell |  | 2183 Mohawk Trail |  |  | Shelburne Falls, Ma |  |  |  | 42 | NR | 2001-09-13 |  | Lynde Well Drilling, Inc. | DMST |  | 505
103938 | 104 West Oxbow Road | 104 | West Oxbow Road | Robert Derose |  | 104 West Oxbow Road |  |  | Shelburne Falls, Ma |  |  |  | 104 | NR | 2001-09-17 |  | Lynde Well Drilling, Inc. | DMST |  | 205
102593 | 8 Avery Road | 8 | Avery Road | Town Of Charlemont |  | City Hall |  |  | Charlemont |  |  |  |  | NR | 2001-05-25 | 5 wells all built similar | Environmental Compliance Services | MONT |  | 20
111447 | 200 Avery Brook Road | 200 | Avery Brook Road | Ed Hogan |  | P. O. Box 64 |  |  | Charlemont, Ma 01339 |  |  |  | 65 | Y | 2002-09-26 | On second casing: 8" outside of 6" to shut off outside ground water. | Lynde Well Drilling, Inc. | DMST |  | 145
157701 | 7 Mohawk Trail | 7 | Mohawk Trail | Zoar Outdoor |  | P.O. Box 245 |  |  | Charlemont |  |  |  | 7 | NR | 2009-09-03 |  | L.G. Cushing & Sons, Inc. | DMST | Bart Cushing | 403 | 42.6288 | -72.8852 | 42 | 37.727 | -72 | 53.112
108384 | 479 East Oxbow Road | 479 | East Oxbow Road | John Atwater |  | P O Box 300 |  |  | Ashfield |  |  |  | 20 | NR | 2001-12-28 |  | Kirke R. Henshaw, Inc. | DMST |  | 220
108388 | 58 Main Street | 58 | Main Street | Bobbi Rivera |  |  |  |  | Same |  |  |  | 65 | Y | 2002-01-02 |  | Kirke R. Henshaw, Inc. | DMST |  | 320
108390 | 376 Legate Hill | 376 | Legate Hill | Kevin Crowningshield |  | P O Box 617 |  |  | Charlemont |  |  |  | 85 | Y | 2002-01-13 |  | Kirke R. Henshaw, Inc. | DMST |  | 260
108358 | 176 Avery Brook Road | 176 | Avery Brook Road | Steve Hoar |  |  |  |  | Same |  |  |  | 115 | Y | 2001-12-05 |  | Kirke R. Henshaw, Inc. | DMST |  | 125
111484 | 147 West Oxbow Road | 147 | West Oxbow Road | Amy Coates |  | P. O. Box 226 |  |  | Shelburne, Ma 01370 |  |  |  | 0 | Y | 2003-02-03 | gravel well | Lynde Well Drilling, Inc. | DMST |  | 165
109483 | 87 Burnt Road | 87 | Burnt Road | Stefan Kostka |  | 1302 Wilshire Blvd. |  |  | Austin, Tx |  |  |  | 87 | Y | 2002-05-07 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 300
109488 | 1052 Mohawk Trail | 1052 | Mohawk Trail | Elizabeth And Billy Tubbs |  | 22 Main Stree |  |  | Same |  |  |  | 93 | Y | 2002-05-22 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 220
111436 | 28 Avery Brook Road | 28 | Avery Brook Road | Regal Real Estate |  | 74 Avenue A |  |  | Turners Falls, Ma 01376 |  |  |  | 80 | Y | 2002-08-21 |  | Lynde Well Drilling, Inc. | DMST |  | 525
109388 | 144 Avery Brook Road | 144 | Avery Brook Road | Stanley + Hazel Jackson |  | Same | [6 empty] | 90 | Y | 2002-02-13 |  | Kirke R. Henshaw, Inc. | DMST |  | 200
118225 | 227 Hawk Hill Road | 227 | Hawk Hill Road | Teresa Dailey |  | 58 Riverside Drive |  |  | Greenfield, Ma 01301 |  |  |  | 55 | Y | 2003-07-08 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 460
113368 | 66 Main Street | 66 | Main Street | Cathy & Frank Buntin |  | P. O. Box 1004 |  |  | Charlemont, Ma 01339 |  |  |  | 70 | Y | 2002-08-02 |  | Kirke R. Henshaw, Inc. | DMST |  | 180
113311 | Cold River Road |  | Cold River Road | Ma Dem | Mohawk Trail State Forest | Region 5 |  |  | Pittsfield |  |  |  | 10 | Y | 2002-05-01 | well overflows | Kirke R. Henshaw, Inc. | PBWS |  | 200
118494 | 247 Zoar Road | 247 | Zoar Road | Philip Banks |  | 10 Deer Hill Drive |  |  | Danbury, Ct 06810 |  |  |  | 57 | Y | 2003-04-02 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 120
118355 | 1681 Mohawk Trail | 1681 | Mohawk Trail | Robert Burrington |  | 1681 Mohawk Trail |  |  | Shelburne Falls, Ma 01390 |  |  |  | 0 | Y | 2002-12-10 |  | Kirke R. Henshaw, Inc. | DMST |  | 420
120663 | 15 Burrington Road | 15 | Burrington Road | Robert Malone |  | P. O. Box 1022 |  |  | Charlemont, Ma 01339 |  |  |  | 8 | Y | 2003-05-01 |  | Kirke R. Henshaw, Inc. | DMST |  | 420
124172 | 56 Vincent Road | 56 | Vincent Road | Tom & Judy Sockolosky |  | 34 Beach Street |  |  | Strafford, Ct 06114 |  |  |  | 7 | Y | 2003-10-07 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 200
124174 | 29 Maxwell Road | 29 | Maxwell Road | Joseph Paes |  | 40 Plains Road |  |  | Walden, Ny 15286 |  |  |  | 8 | Y | 2003-10-07 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 120
122489 | East Oxbow Road |  | East Oxbow Road | Jim Ovitt |  | 188b North Main Street |  |  | South Deerfield, Ma 01373 | 55-1 | 9 |  | 105 | Y | 2003-09-11 | 2nd well seal type: 8" outside of 6" to shut off outside ground water. Annular space sealed with Benseal. | Lynde Well Drilling, Inc. | DMST |  | 405
122504 | 28 Schaefer Way | 28 | Schaefer Way | Brandon Boucias |  | P. O. Box 1001 |  |  | Buckland, Ma 01338 |  |  |  | 105 | Y | 2003-11-05 |  | Lynde Well Drilling, Inc. | DMST |  | 345
124167 | 114 Tower Road | 114 | Tower Road | Scott Miller & Mary St. Germain |  | P. O. Box 294 |  |  | Falmouth, Ma 02541 |  |  |  | 16 | Y | 2003-09-11 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 320
122536 | 271 West Oxbow Road | 271 | West Oxbow Road | Amy Coates |  | P. O. Box 226 |  |  | Shelburne, Ma 01370 |  |  |  | 0 | NR | 2004-03-22 |  | Lynde Well Drilling, Inc. | DMST |  | 485
157693 | 24 Mt. View Drive | 24 | Mt. View Drive | Fred Kenney |  | 24 Mt. View Dr. |  |  | Charlemont |  |  |  |  | NR | 2009-04-10 | old pump assy. back [sic] | L.G. Cushing & Sons, Inc. | DMST | Bart Cushing | 240 | 42.6625 | -72.8963 | 42 | 39.748 | -72 | 53.779
134914 | 54 Ledge Lane | 54 | Ledge Lane | Guy DeScaro |  | 343 East Millstream Road |  |  | Creamridge, N. J. 08514 |  |  |  | 15 | Y | 2004-11-15 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 300
134915 | 9 Ledge Lane | 9 | Ledge Lane | William Hudson |  | 9 Pine Acres Road |  |  | Lunenberg, Ma. 01462 |  |  |  | 15 | Y | 2004-11-18 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 500
134924 | 52 Cherry Pierson Road | 52 | Cherry Pierson Road | Jeannie Dewey / Beth Hersh |  | P. O. Box 456 |  |  | Charlemont, Ma. 01339 |  |  |  | 20 | Y | 2004-11-16 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 200
131335 | 75 Deer Run Lane | 75 | Deer Run Lane | Brandon Putnam |  | 75 Deer Run Lane |  |  | Charlemont, MA. 01339 |  |  |  | 4 | Y | 2005-08-30 |  | Lynde Well Drilling, Inc. | DMST |  | 425
134895 | 1605 Route 2 | 1605 | Route 2 | Douglas Dean | New Sugar House | 1645 Route 2 |  |  | Shelborne Falls, ma |  |  |  | 140 |  | 2005-01-19 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 300
131324 | 552 Mountain Road | 552 | Mountain Road | Patricia Raviele |  | same | [6 empty] | 75 | Y | 2005-07-25 |  | Lynde Well Drilling, Inc. | DMST |  | 225
132053 | 42 High Street | 42 | High Street | Brian Purrington |  | P. O. Box 331 |  |  | Charlemont, Ma. 01339 |  |  |  | 100 | Y | 2004-04-30 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 500
135652 | 239 West Hawley Road | 239 | West Hawley Road | Brian & Lydia Canon |  | 239 West Hawley Road |  |  | Charlemont, Ma. 01339 |  |  |  | 70 | Y | 2004-12-01 |  | Kirke R. Henshaw, Inc. | DMST |  | 220
135656 | 231 West Hawley Road | 231 | West Hawley Road | Mark Ledwell |  | 231 West Hawley Road |  |  | Charlemont, Ma. 01339 |  |  |  | 66 | Y | 2004-11-30 |  | Kirke R. Henshaw, Inc. | DMST |  | 440
145662 | 607 Legate Hill Road | 607 | Legate Hill Road | Wayne Meeks |  | Brookhaven Road |  |  | Hamden, CT 06517 |  |  | 2006-06-21 | 0 | Y | 2006-06-27 | deepened existing well | Lynde Well Drilling, Inc. | DMST |  | 485
141224 | 187 Main Street | 187 | Main Street | David Sargent |  | P.O.Box 15 |  |  | Charlemont, MA. 01339-0015 |  |  |  | 50 | Y | 2006-02-02 |  | Lynde Well Drilling, Inc. | DMST |  | 445
600256 |  |  | SCHAEFER WAY | JOHN COLLEEN ALTISON |  |  |  | SCHAEFER WAY | CHARLEMONT | 34 | 7 | 2010-07-14 | 20 | Y | 2010-10-29 |  | LYNDE WELL DRILLING, INC. |  |  | 245
600441 |  | 65 | EAST HAWLEY RD | KAREN ROACH |  |  | 65 | EAST HAWLEY RD | CHARLEMONT |  |  | 2010-11-15 | 94 | Y | 2010-11-18 |  | KIRKE R HENSHAW INC |  |  | 240
157696 | 7 Mohawk Trail | 7 | Mohawk Trail | Zoar Outdoor |  | P.O.Box 245 |  |  | Charlemont |  |  |  | 2 | NR | 2009-04-27 | Casing grouted in place. | L.G. Cushing & Sons, Inc. | DMST | Bart C. Cushing | 503 | 42.629 | -72.8865 | 42 | 37.74 | -72 | 53.192
143041 | 42 Thunder Mountain Road | 42 | Thunder Mountain Road | Renard Straulman |  | 70E 10th Street Apt. 10JK |  |  | New York, NY. 10003 |  |  |  | 85 |  | 2005-10-11 |  | Kirke R. Henshaw, Inc. | DMST |  | 220
143107 | 454 South River Road | 454 | South River Road | Jeremy & Jen Lanoue |  | P.O. Box 23 |  |  | Charlemont, Ma. 01339 |  |  |  | 90 | Y | 2006-02-24 |  | Kirke R. Henshaw, Inc. | DMST |  | 420
140502 | 188D Warner Hill Road | 188D | Warner Hill Road | John Meyer Builder |  | 188D Warner Hill Road |  |  | Charlemont, MA. 01339 |  |  |  | 20 |  | 2005-10-19 |  | Larry G. Cushing & Sons, Inc. | DMST |  | 120
143145 | Lot 70.5 Maxwell Road | Lot 70.5 | Maxwell Road | Phil Braese |  | 138 Cold Hill |  |  | Granby, Ma. 01033 | 70.5 | 7.0 |  | 22 | Y | 2006-05-09 |  | Kirke R. Henshaw, Inc. | DMST |  | 220
159916 |  |  | Burrington Road | SVE Associates |  | 377 Main Street |  |  | Greenfield | 53-3 | 3 |  | 26 | NR | 2010-02-08 | "No 911 issued, no pump now." | Larry G. Cushing & Sons, Inc. | DMST | Bart C. Cushing | 402 | 42.6211 | -72.8297 | 42 | 37.267 | -72 | 49.784
161607 | 7 Mohawk Trail | 7 | Mohawk Trail | Zoar Outdoor |  | PO Box 245 |  |  | Charlemont |  |  |  | 5 | NR | 2010-07-22 | "No pump at time of report." | Larry G. Cushing & Sons, Inc. | DMST | Bart C. Cushing | 1002 | 42.6284 | -72.883 | 42 | 37.706 | -72 | 52.983
304395 | 32 Avery Brook Road | 32 | Avery Brook Road | Glen Dean |  | 2 Standish Court, Apt. B |  |  | Charlemont | 21 | 4 | 2011-03-09 | 38 | Y | 2011-04-30 |  | Larry G. Cushing & Sons, Inc. | DMST | Bart C. Cushing | 440 | 42.6214 | -72.8034 | 42 | 37.282 | -72 | 48.202
303884 | 32 Avery Brook Road | 32 | Avery Brook Road | Glen Dean |  | 2 Standish Court, Apt. B |  |  | Greenfield | 21 | 4 | 2011-03-09 | 38 | Y | 2011-04-30 |  | Larry G. Cushing & Sons, Inc. | DMST | Bart C. Cushing | 440 | 42.6214 | -72.8034 | 42 | 37.282 | -72 | 48.202
316941 | 10 Thunder Lane | 10 | Thunder Lane | Neal Lear |  | 10 Thunder Lane |  |  | CHARLEMONT |  |  | 2011-12-15 | 45 | Y | 2011-12-22 |  | Larry G. Cushing & Sons, Inc. | DMST | Bart C. Cushing | 242 | 0 | 0 | 42 | 37.195 | -72 | 52.876
605978 |  | 502 | SOUTH RIVER ROAD | STEPHEN ARSENAULT |  |  | 502 | SOUTH RIVER ROAD | CHARLEMONT |  |  | 2011-12-09 | 133 | Y | 2012-04-26 |  | LYNDE WELL DRILLING, INC. | DMST | LYNDE, KENNETH, C | 265 | 42.6165 | -72.8401
610512 |  | 55 | LEDGE LANE | RAYMOND FAMOSI |  |  | 55 | LEDGE LANE | CHARLEMONT |  |  | 2012-07-25 | 8 | Y | 2012-08-14 |  | LYNDE WELL DRILLING, INC. | DMST | LYNDE, GARY, C | 225 | 42.6428 | -72.9085
612737 |  | 77 | ROWE ROAD | MARY COLLINS |  |  | 77 | ROWE ROAD | ROWE |  |  | 2012-09-05 |  | Y |  |  |  | DMST |  |  | 42.6607 | -72.9356
612729 |  | 77 | ROWE ROAD | MARY COLLINS |  |  | 77 | ROWE ROAD | ROWE | 15.0 | 110 | 2012-09-05 | 64 | Y | 2012-09-20 |  | LYNDE WELL DRILLING, INC. | DMST | LYNDE, GARY, C | 485 | 42.6607 | -72.9355
612052 |  | 456 | Zoar Road | Toby & Merry Gould |  |  | 456 | Zoar Road | CHARLEMONT |  |  |  | 58 | Y | 2012-08-14 |  | Cushing & Sons, Inc. | DMST | Cushing, Bart, C | 600 | 42.6534 | -72.9324
612665 |  | 1753 | MOHAWK TRAIL | COUNTRY AIRE CAMPGROUND |  |  | 1753 | MOHAWK TRAIL | CHARLEMONT |  |  | 2012-08-30 | 10 | Y | 2012-09-22 | PWS ID# 1053011 | LYNDE WELL DRILLING, INC. | PBWS | LYNDE, GARY, C | 125 | 42.6268 | -72.7972
613907 |  | 00 | OFF BOSRAH ROAD | BERKSHIRE EAST |  |  | 727 | PO BOX | CHARLELMONT |  |  |  | 4 | NR | 2012-09-21 |  | KIRKE R. HENSHAW, INC. | IRRG | HENSHAW, KIRKE, R | 600 | 42.3657 | -72.5222
617738 |  | 14 | Thunder Lane | Barry Sanderson |  |  | 14 | Thunder Lane | CHARLEMONT |  |  | 2012-09-25 | 34 | Y | 2012-10-20 |  | Cushing & Sons, Inc. | DMST | Cushing, Bart, C | 320 | 42.6203 | -72.8807